255 Svoboda Lane, Room 115

La Grange, TX 78945

Phone: (979) 968-3135

Fax: (979) 968-3194

Report Open Unused Wells

You are not required to give personal information.  However, in order to check out reports, it may be necessary to contact you for more information.  Please be assured that any reports are handled as anonymous and all information is held in the strictest confidence.

| Your Name |  |
| --- | --- |
| E-Mail |  |
| Mailing Address |  |
| Telephone |  |
| Well Location |  |
| Well Owner |  |
| Other Comments |  |

| Office Use Only |  |
| --- | --- |
| Date Recvd. |  |
| Date Investigated: |  |
| Action Reqd(Y/N) |  |
| Well Number |  |
| Comments |  |

Abandoned Well Determination Criteria

(Texas Department of Licensing and Regulation)

1. Is the well “in use”?

2. Does the well meet the minimum construction standards?

3. Is the well in good condition?

If “No” is the answer to any of the above criteria, the well is considered abandoned.

A. Is the well “in use”?

Is there a pump in the well?

Is there any power to the pump?

Are there any water lines coming from the well?

Is there any evidence that well has been used within the last 6 months?

Is there any evidence that the well is used in a normal scope?

Does the well have a cap?

Is the cap secure enough to not be easily removed by hand?

Is the cap secure enough to support at least 400lbs of weight?

Is the cap capable or preventing surface pollutants from entering the well?

If “NO” is the answer to any of the above criteria, the well may not be considered “in use”.

B. Does the well meet the minimum construction standards?

Does the well have any casing?

Is the annular space (space between borehole and casing) adequately sealed at or near the ground surface?

Is the well free of any unprotected openings in the casing or well seal above the ground surface?

Does the well have a cement slab or protective sleeve around the wellhead?

Does the well head extend at least 12” above the ground surface?

Is the well located greater than 150’ from any potential source of contamination?

If “NO” is the answer to any of the above criteria, the well may not meet the minimum construction standards.

C. Is the well in good condition? (Use the following criteria to assess if there is any sign of well deterioration)

Is the casing in good condition?

Is the well seal/cap in good condition?

Is the well slab or sleeve in good condition?

Is the pump/pump column in good condition?

If “NO” is the answer to any of the above criteria, the well may be considered deteriorated.